Use of this document / contents is forbidden without express authority. All rights reserved.

Refer to protection notice ISO 16016.

List of Accessories

Fabius GS 8604700 + FabiusGS premium 8607000

-english-

| Accessories necessary for clinical operation as per EN 740: |  |  |  |
| --- | --- | --- | --- |
| Connecting hoses |  |  |  |
|  | All Dräger connection hoses according to hose kit. Color coding and connection threading according to individual legal regulations. | 86 01 697 |  |
|  | Adapter O2 DISS/NIST | M 34 875 |  |
|  | Adapter N2O DISS/NIST | M 34 876 |  |
|  | Adapter AIR DISS/NIST | M 34 877 |  |
|  | Adapter VAC DISS/NIST | M 34 878 |  |
|  | Adapter O2 NIST/NF (France) | M 35 336 |  |
|  | Adapter N2O NIST/NF (France) | M 35 337 |  |
|  | Adapter AIR NIST/NF (France) | M 35 338 |  |
|  | DISS coupling O2 fem. (Canada) | 86 06 357 |  |
|  | DISS coupling AIR fem. (Canada) | 86 06 358 |  |
|  | DISS coupling N2O fem. (Canada) | 86 06 359 |  |
|  | Adapter O2 tube 0.1 m (Australia) | M 34 446 |  |
|  | Adapter N2O tube 0.1 m (Australia) | M 34 447 |  |
|  | Adapter AIR tube 0.1 m (Australia) | M 34 448 |  |
|  | Connecting hose NIST/NIST O2 / 1 m (neutral) | M 32 671 |  |
|  | Connecting hose NIST/NIST N2O / 1 m (neutral) | M 34 947 |  |
|  | Connecting hose NIST/NIST AIR / 1 m (neutral) | M 34 948 |  |
|  | Connecting hose NIST/NIST VAC / 1 m (neutral) | M 34 949 |  |
|  | Connecting hose NIST/NIST VAC / 5 m (neutral) | M 32 046 |  |
|  | Connecting hose O2 NIST/NIST / 1.2 m (ISO) | M 36 053 |  |
|  | Connecting hose N2O NIST/NIST / 1.2 m (ISO) | M 36 054 |  |
|  | Connecting hose AIR NIST/NIST / 1.2 m (ISO) | M 36 055 |  |

| Cylinder supply |  |  |
| --- | --- | --- |
|  | All authorized gas cylinders for the medical gases O2, N2O and AIR |  |
| Pressure reducer for supply cylinders |  |  |
| incl. connection hose |  |  |
|  | Pressure reducer (O2 / G3/4) | 86 03 470 |
|  | Pressure reducer (O2 / Pin Index) | 86 03 460 |
|  | Pressure reducer (O2 / GB-HS) | 86 03 475 |
|  | Pressure reducer (O2 / GO) | 86 03 479 |
|  | Pressure reducer (O2 / GE) | 86 03 477 |
|  | Pressure reducer (O2 / GA) | 86 03 473 |
|  | Connecting hose 1 m O2 NIST | M 32 671 |
|  | Pressure reducer (N2O / G3/4 A) | 86 03 496 |
|  | Pressure reducer (N2O / G3/8) | 86 03 495 |
|  | Pressure reducer (N2O / Pin Index) | 86 03 461 |
|  | Pressure reducer (N2O / GH) | 86 03 497 |
|  | Pressure reducer (N2O / GJ) | 86 03 499 |
|  | Pressure reducer (N2O / GX) | 86 03 498 |
|  | Connecting hose 1 m N2O NIST | M 34 947 |

| Power supply cable |  |  |
| --- | --- | --- |
|  | Only those power cables delivered with the basic unit are authorized for use. |  |
| Potential equalization cable |  |  |
|  | Cable, 0.8 m long | 83 01 348 |
|  | Cable, 3.2 m long | 83 01 349 |

| Anesthetic agent vaporizers |  |  |
| --- | --- | --- |
|  | Dräger vaporizers with Dräger connection system for the anesthetic agents halothane, enflurane, isoflurane, sevoflurane and desflurane |  |
| D-Vapor | Desflurane | M 35 500 |
| Vapor 2000 | Isoflurane | M 35 054 |
|  | Sevoflurane |  |
|  | Enflurane |  |
|  | Halothane |  |

| Filling adapter Vapor 2000 for the keyed filling system |  |  |
| --- | --- | --- |
|  | Filling adapter „H“ | M 35 320 |
|  | Filling adapter „E“ | M 35 321 |
|  | Filling adapter „I“ | M 35 323 |
|  | Filling adapter „S“ | M 35 322 |
|  | Drainage set Quick-Fil | M 34 206 |
|  | For information on combination releases for anesthetic agent vaporizers with SelectatecTM connection systems manufactured or sold by other companies, ask your Dräger Medical representative. Anesthetic agent vaporizers with Dräger-compatible connection systems manufactured or sold by other companies are not authorized for use with Fabius GS. |  |
| Anesthetic gas scavenging system |  |  |
|  | Anesthetic gas scavenging system (AGS) as per EN 740, Operating range of suction: 30 - 50 L/min | M 33 300 |
|  | Passive suction (USA, Canada) | 86 05 433 |
|  | Control valve DISS (USA, Canada) | AF 00 539 |
|  | GCX holder for AGS | 41 17 515 |
|  | Cone adapter 30 mm | M 29 430 |
|  | AGS transfer hose 1 m | M 33 925 |
|  | AGS suction hose 1.5 m | M 33 297 |
|  | AGS suction hose 3 m | M 33 298 |
|  | AGS suction hose 5 m | M 33 299 |
|  | AGS hose (GB) | M 36 051 |
|  | AGS hose adapter (JP, AUS) | M 36 048 |
|  | Drive unit for AGS (Italy) | M 36 057 |
|  | Anesthetic exhaust plug, 45° (for Dräger supply units) | G 60 440 |
|  | NA probe, straight, new (for Dräger piped medical gas supply systems) | G 60 580 |
|  | NA probe, 45 degree, new (for Dräger piped medical gas supply systems) | G 60 495 |

| Bronchus suction |  |  |
| --- | --- | --- |
| With ejector | Suction for compressed air operation (ejector) NIST AIR | MK 01 420 |
|  | Suction for compressed air operation (ejector) NIST NIST Air/O2 | MK 01 418 |
|  | Rail for GCX profile (100 mm) | 41 18 555 |
|  | NIST/DIN adapter AIR/O2 | M 32 497 |
|  | Connecting hose NIST AIR / O2 1.5 m | M 33 145 |
|  | 3-way O2 adapter NIST | 41 17 391 |
|  | 3-way O2 adapter NIST “Shraeder” (UK) | 41 99 905 |
|  | 3-way O2 adapter DISS (US) | 41 16 230 |
|  | 3-way adapter AIR NIST | M 36 056 |
| Vacuum | Suction for vacuum operation NIST | MK 01 422 |
|  | Suction for vacuum operation DISS | MK 03 140 |
|  | Suction for vacuum operation DISS, Canada | MK 03 320 |
|  | Suction for vacuum operation, USA (Set with GCX rail and hose holder) | 41 18 454 |
|  | Rail for GCX profile (100 mm) | 41 18 555 |
|  | NIST/DIN adapter VAC | M 32 496 |
|  | Connecting hoses, see page 1 |  |
|  | Cylinder package with claw | 2M 86 036 |
|  | Cylinder packalge holder for GCX profile | 41 18 453 |
| Suction accessories |  |  |
|  | consisting of: | 86 01 179 |
|  | Secretion cylinder 0.7 L | 2M 85 594 |
|  | Cylinder cap with safety valve | 2M 58 012 |
|  | Secretion viewing window | M 07 582 |
|  | Suction hose 1.5 m | M 25 780 |
|  | Angled connection | M 30 159 |
|  | Hose, 5 x 2 silicone | 12 03 606 |
| Disposable suction accessories |  |  |
|  | VacuSmart disposable receptacle 0.7 L | MX 23 023 |
|  | VacuSmart disposable hose, 2 m | MX 23 026 |
|  | Filter | MK 00 514 |

| Breathing hoses |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Adult hose set | M 30 146 |  |  |  |  |  |  |
|  | Pediatric hose set, complete | M 33 681 |  |  |  |  |  |  |
|  | Hose set, child circulation system | M 27 542 |  |  |  |  |  |  |
|  | All breathing hoses come with ISO connections (as per ISO 5367 or EN 12 342), max. length 3 m |  |  |  |  |  |  |  |
| Y-pieces and connectors |  |  |  |  |  |  |  |  |
|  | Y- piece Luer-Lock | M 33 278 |  |  |  |  |  |  |
|  | Y- piece 90°, ISO | M 25 682 |  |  |  |  |  |  |
|  | Y- piece straight, ISO | M 25 650 |  |  |  |  |  |  |
|  | Y- piece 90°, pediatric | 84 03 075 |  |  |  |  |  |  |
|  | Y- piece straight, pediatric | M 27 077 |  |  |  |  |  |  |
|  | Double connection, ISO | M 25 647 |  |  |  |  |  |  |
| Disposable hose sets ** |  |  |  |  |  |  |  |  |
|  | Vent Set Basic | MP 00 300 |  |  |  |  |  |  |
|  | Vent Set Flex | MP 00 305 |  |  |  |  |  |  |
|  | Anesthesia Set Basic latex-free | MP 00 301 |  |  |  |  |  |  |
|  | Anesthesia Set Basic latex | MP 00 302 |  |  |  |  |  |  |
|  | Anesthesia Set Flex latex-free | MP 00 303 |  |  |  |  |  |  |
|  | Anesthesia Set Flex latex | MP 00 304 |  |  |  |  |  |  |
|  | Vent Set Coax | MP 00 315 |  |  |  |  |  |  |
| Beatmungsmasken |  |  |  |  |  |  |  |  |
| Breathing masks reuseable |  |  |  |  |  |  |  |  |
| All-round breathing mask, size 1 |  | 21 65 732 1) |  |  |  |  |  |  |
| All-round breathing mask, size 2 |  | 21 65 740 1) |  |  |  |  |  |  |
| All-round breathing mask, size 3 |  | 21 65 759 1) |  |  |  |  |  |  |
| Sealing plug |  | M 147 37 |  |  |  |  |  |  |
| Foregger breathing mask, size 1 |  | 21 659 10 |  |  |  |  |  |  |
| Foregger breathing mask, size 2 |  | 21 660 97 |  |  |  |  |  |  |
| Foregger breathing mask, size 3 |  | 21 661 00 |  |  |  |  |  |  |
| Foregger breathing mask, size 4 |  | 21 661 19 |  |  |  |  |  |  |
| Rendell-Baker breathing mask, size 0 |  | M 227 64 |  |  |  |  |  |  |
| Rendell-Baker breathing mask, size 1 |  | M 146 31 |  |  |  |  |  |  |
| Rendell-Baker breathing mask, size 2 |  | M 146 32 |  |  |  |  |  |  |
| Rendell-Baker breathing mask, size 3 |  | M 146 33 |  |  |  |  |  |  |
| Breathing masks disposable |  |  |  |  |  |  |  |  |
| LITESTAR mask, size 1, without hook ring |  |  | MP 015 01 |  |  |  |  |  |
| LITESTAR mask, size 2, without hook ring |  |  | MP 015 02 |  |  |  |  |  |
| LITESTAR mask, size 3, without hook ring |  |  | MP 015 03 |  |  |  |  |  |
| LITESTAR mask, size 4, without hook ring |  |  | MP 015 04 |  |  |  |  |  |
| LITESTAR mask, size 5, without hook ring |  |  | MP 015 05 |  |  |  |  |  |
| LITESTAR mask, size 6, without hook ring |  |  | MP 015 06 |  |  |  |  |  |
| COMFORTSTAR mask, size 1, standard, with hook ring |  |  | MP 015 11 |  |  |  |  |  |
| COMFORTSTAR mask, size 2, standard, with hook ring |  |  | MP 015 12 |  |  |  |  |  |
| COMFORTSTAR mask, size 3, standard, with hook ring |  |  | MP 015 13 |  |  |  |  |  |
| COMFORTSTAR mask, size 4, standard, with hook ring |  |  | MP 015 14 |  |  |  |  |  |
| COMFORTSTAR mask, size 5, standard, with hook ring |  |  | MP 015 15 |  |  |  |  |  |
| COMFORTSTAR mask, size 6, standard, with hook ring |  |  | MP 015 16 |  |  |  |  |  |
| COMFORTSTAR mask, size 1, strawberry odor, with hook ring |  |  | MP 015 21 |  |  |  |  |  |
| COMFORTSTAR mask, size 2, strawberry odor, with hook ring |  |  | MP 015 22 |  |  |  |  |  |
| COMFORTSTAR mask, size 3, strawberry odor, with hook ring |  |  | MP 015 23 |  |  |  |  |  |
| COMFORTSTAR mask, size 4, strawberry odor, with hook ring |  |  | MP 015 24 |  |  |  |  |  |
| COMFORTSTAR mask, size 1, chewing gum odor with hook ring |  |  | MP 015 31 |  |  |  |  |  |
| COMFORTSTAR mask, size 2, chewing gum odor with hook ring |  |  | MP 015 32 |  |  |  |  |  |
| COMFORTSTAR mask, size 3, chewing gum odor with hook ring |  |  | MP 015 33 |  |  |  |  |  |
| COMFORTSTAR mask, size 4, chewing gum odor with hook ring |  |  | MP 015 34 |  |  |  |  |  |
| COMFORTSTAR mask, size 3, spearmint odor with hook ring |  |  | MP 015 43 |  |  |  |  |  |
| COMFORTSTAR mask, size 4, spearmint odor with hook ring |  |  | MP 015 44 |  |  |  |  |  |
| COMFORTSTAR mask, size 5, spearmint odor with hook ring |  |  | MP 015 45 |  |  |  |  |  |
| COMFORTSTAR mask, size 6, spearmint odor with hook ring |  |  | MP 015 46 |  |  |  |  |  |
| Head strap reusable, silicone, small |  |  | MP 015 57 |  |  |  |  |  |
| Head strap reusable, silicone, large |  |  | MP 015 58 |  |  |  |  |  |
| Head strap disposable, soft cloth, small |  |  | MP 015 59 |  |  |  |  |  |
| Head strap disposable, soft cloth, large |  |  | MP 015 60 |  |  |  |  |  |
| Head strap disposable, soft rubber, small |  |  | MP 015 61 |  |  |  |  |  |
| Head strap disposable, soft rubber, large |  |  | MP 015 62 |  |  |  |  |  |
| Breathing bag |  |  |  |  |  |  |  |  |
|  | Breathing bag, silicone 0.5 L |  | 21 66 054 |  |  |  |  |  |
|  | Breathing bag, silicone 1.5 L |  | 21 66 127 |  |  |  |  |  |
|  | Breathing bag, silicone 2.3 L |  | 21 66 062 |  |  |  |  |  |
|  | Breathing bag, silicone 3.0 L |  | 21 66 070 |  |  |  |  |  |
|  | Breathing bag, latex 0.5 L |  | 21 65 686 |  |  |  |  |  |
|  | Breathing bag, latex 1.5 L |  | 21 65 953 |  |  |  |  |  |
|  | Breathing bag, latex 2.0 L |  | 21 65 694 |  |  |  |  |  |
|  | Breathing bag, latex 2.3 L |  | 21 65 708 |  |  |  |  |  |
|  | Breathing bag, latex 3 L |  | 21 65 716 |  |  |  |  |  |
|  | All breathing bags authorized by EN 1820 or ISO 5362 |  |  |  |  |  |  |  |
| Disposable filters and HME/filter |  |  |  |  |  |  |  |  |
|  | SAFESTAR filter 45 |  | MP 01 790 |  |  |  |  |  |
|  | CARESTAR filter 55 |  | MP 01 760 |  |  |  |  |  |
|  | CARESTAR filter 20 |  | MP 01 770 |  |  |  |  |  |
|  | TWINSTAR filter/HME 55 |  | MP 01 805 |  |  |  |  |  |
|  | TWINSTAR filter/HME 30 |  | MP 01 815 |  |  |  |  |  |
| Emergency breathing bags |  |  |  |  |  |  |  |  |
|  | Resuscitator Adult MR-100 |  | 57 02 881 |  |  |  |  |  |
|  | Resuscitator Child MR-100 |  | 57 02 321 |  |  |  |  |  |
|  | Resuscitator Baby MR-100 |  | 57 02 322 |  |  |  |  |  |
|  | Hook for Resutator |  | M 26 349 |  |  |  |  |  |
|  | O2 demand valve ‘Oxidem 3000’ |  | 2M 86 296 |  |  |  |  |  |
|  | All emergency breathing bags authorized by EN 740 |  |  |  |  |  |  |  |
| Non-rebreathing systems |  |  |  |  |  |  |  |  |
|  | Kuhn instruments ISO |  | M 34 823 |  |  |  |  |  |
|  | Connecting sleeve for Kuhn instruments |  | M 13 506 |  |  |  |  |  |
|  | Anesthetic gas scavenging for Kuhn ISO |  | M 25 838 |  |  |  |  |  |
|  | Anesthetic gas scav. hose 1.5 m |  | G 60 446 |  |  |  |  |  |
|  | Anesthetic gas scav. hose 3 m |  | G 60 447 |  |  |  |  |  |
|  | Anesthetic gas scav. hose 5 m |  | G 60 448 |  |  |  |  |  |
|  | Anesthetic filter equipment 2 |  | M 21 262 |  |  |  |  |  |
|  | Anesthetic filter 633 (set of 5) |  | 67 24 492 |  |  |  |  |  |
|  | Medec Waters Set |  | M 36 037 |  |  |  |  |  |
|  | Magill inhalation system |  | M 34 824 |  |  |  |  |  |

| Ventilation accessories |  |  |
| --- | --- | --- |
|  | Compact breathing system COSY 2.6 | 86 05 797 |
|  | Compact breathing system COSY 2.6 with heating | 86 05 796 |
|  | Advanced Low-Flow Kit for COSY 2.6 | 86 05 898 |
|  | Content optional: |  |
|  | Water trap for COSY left | 86 04 919 |
|  | Water trap for COSY right | 86 05 627 |
|  | COSY heating | 86 05 897 |
|  | Reusable microbe filter 654 ST isoclic (set of 5) | 67 33 895 |
|  | Bacteria filter | 84 02 868 |
| CO2 absorber |  |  |
|  | Drägersorb 800 Plus 5 L container | MX 00 001 |
|  | Drägersorb FREE 5 L container | MX 50 050 |
|  | Drägersorb CLIC, 1.2 L disposable absorber (set of 10) | MX 00 004 |
|  | Drägersorb CLIC FREE, 1.2 L disposable absorber (set of 10) | MX 50 100 |
|  | Adapter for Click absorber | MX 00 012 |
|  | Click adapter plate | MX 00 013 |
| Sensors |  |  |
|  | O2 sensor | 68 50 645 |
|  | O2 sensor housing for COSY left | 86 04 707 |
|  | O2 sensor housing for COSY right | 86 06 055 |
|  | Spirolog sensor (set of 5) | 84 03 735 |
|  | SpiroLife sensor | MK 01 900 |
| Special accessories |  |  |
|  | External fresh-gas outlet (Cosy left) | 41 17 403 |
|  | External fresh-gas outlet (Cosy right) | 41 99 907 |
|  | External fresh-gas outlet AUS/NZ | 86 06 145 |
|  | Common gas outlet changeover switch | 86 04 011 |
|  | Additional O2 measurement tube ISO | 86 04 649 |
|  | Additional O2 measurement tube US | 86 04 648 |
|  | Pressure gauge | 86 04 652 |
|  | Infusion bar | 41 17 519 |
|  | Oval pipe hinged arm | M 34 080 |
|  | GCX adapter mounting | 41 17 642 |
|  | Parking position for two Vapor units, Dräger | 41 15 837 |
|  | Parking position for two Vapor units, Selectatec | 41 99 871 |
|  | Manual breathing holder, adjustable | 41 18 380 |
|  | Flexible hinged arm for manual breathing | 86 05 088 |
|  | Set of handles | 41 17 509 |
|  | Shelf, rotating | 41 17 510 |
|  | Basket | 41 17 511 |
|  | Set of GCX rail covers | 41 17 441 |
|  | Side cover (Cosy left) | 86 04 718 |
|  | Side cover (Cosy right) | 86 04 720 |
|  | CASTrGARD, small | M 36 049 |
|  | Addition. RS232 port | 86 06 266 |
|  | Bottle holder | 86 04 800 |
|  | Ceiling holder | G 19 145 * |
|  | * not for FabiusGS premium |  |

| Monitor arms |  |  |
| --- | --- | --- |
| Monitor (left) | Universal monitor arm | 41 17 638 |
|  | GCX adapter mounting | 41 17 642 |
|  | IDS power supply mounting | MM 15 753 |
|  | Power supply mounting for duct | MM 15 287 |
| Monitor (top) | GCX rail (cover) | 41 17 513 |
|  | Zero degree support foot | MM 15 741 |
|  | IDS power supply mounting | MM 15 753 |
|  | Power supply mounting for duct | MM 15 287 |
| Infinity Explorer, Omega | 16 inch GCX pivot arm | 86 06 245 |
|  | Ergo Bracket | 86 06 246 |
|  | Keyboard holder with mouse holder | 86 06 247 |
| Kappa XLT (left) | Universal monitor arm | 41 17 638 |
|  | GCX adapter mounting | 41 17 642 |
|  | RS GCX rail | 86 06 259 |
|  | Intake Kappa XLT | MS 15 446 |
|  | Power supply mounting | MS 15 934 |
| Kappa XLT (top) | GCX rail (cover) | 41 17 513 |
|  | 0° holding foot | MM 15 741 |
|  | RS GCX rail | 86 06 259 |
|  | Intake Kappa XLT | MS 15 446 |
|  | Power supply mounting | MS 15 934 |
| Vamos (left) | Vamos monitor arm | 41 17 636 |
|  | Vamos adapter m-arm | MM 15 288 |
|  | Universal monitor arm | 41 17 638 |
|  | GCX adapter mounting | 41 17 642 |
| SCIO | SCIO integration (Cosy left) | 86 06 137 |
| Atachment | Deerberg arm (Cosy right) | 68 70 778 |
| Anesthetic gas monitoring |  |  |
|  | SCIO Four | 68 71 810 |
|  | Vamos | 68 70 750 |
|  | Data cable 2 m | 86 01 473 |
|  | Sample gas return hose set | M 32 692 |

| Hemodynamic monitoring |  |  |
| --- | --- | --- |
|  | Ask your Dräger Medical representative for information on combination releases for combining Fabius GS with patient monitoring accessories. |  |
| Data management systems |  |  |
|  | Ask your Dräger Medical representative for information on combination releases for combining Fabius GS with patient monitoring accessories. |  |

| ** | Attention: For the US version, there are other numbers for the disposable hose sets! |
| --- | --- |
| **** | Not avialable in every country; products are PLP but historically grown, compatibility test with device existing only partially. |
| *** | Not in every country avialable; CE 10/06; FDA 01/07, ROW 07 |