List of Accessories

Fabius MRI 8607300

-English-

| Device | Fabius MRI – Floor Version | 86 07 300 |
| --- | --- | --- |
| Basic unit |  |  |
| either | Basic unit US with 2 gas pin index (O2, N2O) | 86 07 225 |
| or | Basic unit US with 3 gas pin index (O2, N2O, AIR) | 86 07 215 |
| or | Basic unit ISO, CE marked | 86 07 220 |
| or | Basic unit ISO, CE marked with 3 gas pin index (O2, N2O, AIR) | 86 07 210 |

| Accessories necessary for clinical operation as per IEC 60601-2-13: Optimal functionality and performance can only be guaranteed if original Dräger accessories are used. The operator accepts liability responsibility for any use of unlisted accessories; such accessories must be tested for correct functionality before use. |  |  |
| --- | --- | --- |
| Accessories necessary for clinical operation: Optimal functionality and performance can only be guaranteed if original Dräger accessories are used. The operator accepts liability responsibility for any use of unlisted accessories; such accessories must be tested for correct functionality before use. |  |  |
| Connecting hoses |  |  |
|  | All Dräger connecting hoses of design, colour coding and connection threading according to individual legal regulations | 86 01 697 |
|  | If supply pressure is above 5 bar, gas supply hoses of up to 10 m long may be used, if the inner diameter is at least 6.3 mm. |  |
|  | O2 Adapter NIST/NF-coupling | M 35 336 |
|  | N2O Adapter NIST/NF-coupling | M 35 337 |
|  | AIR Adapter NIST/NF-coupling | M 35 338 |

| Power supply cable |  |  |
| --- | --- | --- |
|  | Only those power cables delivered with the basic unit are authorized for use. |  |

| Potential equalisation cable |  |  |
| --- | --- | --- |
|  | Cable, 0.8 m long | 83 01 348 |
|  | Cable, 3.2 m long | 83 01 349 |
|  | Cable, 6 m long | M 27 769 |

| Ventilation and Accessories |  |  |
| --- | --- | --- |
|  | Compact Breathing System COSY 2.6 | 86 05 797 |
|  | Hose asm-PEEP/ Pmax-APL, left | 86 04 875 |
|  | Hose asm-PEEP/ Pmax-APL, right | 86 04 874 |
|  | Muffler | 86 05 870 |
|  | Reusable microbe filter 654 ST isoclic (set of 5) | 67 33 895 |
| not US | Bacteria filter | 84 02 668 |
|  | Fixed Breathing Bag Extension Arm kit for COSY 2.6 | 41 18 380 |
|  | Moisture Reduction kit for COSY, left | 86 04 919 |
|  | Moisture Reduction kit for COSY, right | 86 05 627 |
|  | water trap for breathing hose adult | 84 04 985 |
|  | water trap for breathing hose infant | 84 09 627 |
|  | Hose ventilator 110 cm, 3.6 ft. | 86 04 310 |
|  | Hose ventilator 150 cm, 4.9 ft. | 86 04 287 |

| Accessories for integrated ventilation monitoring |  |  |
| --- | --- | --- |
|  | O2 sensor (housing + cable) left | 86 04 707 |
|  | O2 sensor (housing + cable) right | 86 06 055 |
|  | O2 sensor | 68 50 645 |
|  | Spirolog sensor (set of five) | 84 03 735 |
|  | SpiroLife sensor | MK 01 900 |

| Special accessories |  |  |
| --- | --- | --- |
|  | External fresh-gas outlet | 41 18 427 |
|  | Common gas outlet changeover switch | 86 04 011 |
|  | GCX 8 inch Cosy arm, MR conditional | 86 xx xxx |
|  | GCX 8 inch Cosy arm /w gauge hole, MR conditional | 86 xx xxx |
|  | kit cover GCX channel | 41 17 441 |
|  | Additional O2 flow tube ISO | 86 04 649 |
|  | Additional O2 flow tube US | 86 04 648 |
|  | Patient airway gauge | 86 07 383 |
|  | Set of handles (2) | 86 xx xxx |
|  | CASTrGARD | M 36 050 |
|  | Cover head COSY complete | 86 07 111 |

| Anesthetic agent vaporizers |  |  |
| --- | --- | --- |
| Connection systems for anesthetic agent vaporizers |  |  |
|  | Twin connection Dräger (Interlock) | M 34 333 |
|  | Twin connection Auto Exclusion | 86 05 491 |
|  | Dräger vaporizers with Dräger connection system for the anesthetic agents Halothane, Enflurane, Isoflurane, Sevoflurane |  |
|  | Vaporizer “Vapor 2000” | M 35 054 |
|  | Isoflurane |  |
|  | Sevoflurane |  |
|  | Enflurane |  |
|  | Halothane |  |
|  | Vapor adaptor “Auto Exclusion” | 86 05 669 |
|  | Vapor 2000 accessories as listed in the respective accessories list |  |
| Filling adapter Vapor 2000 |  |  |
|  | Filling adapter "H" | M 35 320 |
|  | Filling adapter "E" | M 35 321 |
|  | Filling adapter "I" | M 35 323 |
|  | Filling adapter "S" | M 35 322 |
|  | Drainage set Quick-Fill | M 34 206 |
|  | Anesthetic agent vaporizers with Dräger compatible connection systems manufactured or sold by other companies are not authorised for use with Fabius MRI. |  |

| Anesthetic gas scavenging system |  |  |
| --- | --- | --- |
|  | Anesthesia gas scavenging system (AGS) as per EN 740. Operating range of suction: 30–50 L/min | M 33 300 |
|  | AGS Scavenger kit w/ ADJ Valve | 86 05 453 |
| US + CA only | Control valve DISS | AF 00 539 |
| US only | Passive Scavenger | 86 05 433 |
|  | GCX holder for AGS | 41 17 515 |
|  | Cone adapter 30 mm | M 29 430 |
|  | AGS transfer hose 1 m | M 33 925 |
|  | AGS transfer hose 1.5 m | M 33 296 |
|  | AGS suction hose 1.5 m | M 33 297 |
|  | AGS suction hose 3 m | M 33 298 |
|  | AGS suction hose 5 m | M 33 299 |
|  | Anesthetic exhaust plug, 45° (for Dräger supply units) | G 60 440 |
|  | NA probe, straight, new (for Dräger piped medical gas supply systems) | G 60 580 |
|  | NA probe, 45°, new (for Dräger piped medical gas supply systems) | G 60 495 |

| Secretion aspirator |  |  |  |
| --- | --- | --- | --- |
| ** not US, CA |  | Suction for compressed AIR operation (ejector) NIST | MK 01 420 |
| ** not US, CA |  | Suction for compressed AIR operation (ejector) NIST AIR/O2 | MK 01 418 |
|  |  | Suction for vacuum operation NIST | MK 01 422 |
|  |  | Suction for vacuum operation DISS | MK 03 140 |
| CA only |  | Suction for vacuum operation DISS Canada | MK 03 320 |
|  |  | Kit – Euro rail short | 41 18 555 |
|  |  | Additional O2 outlet NIST, (T-piece) | 41 17 391 |
|  |  | Additional O2 outlet Shraeder (UK) | 41 99 905 |
|  |  | Additional O2 outlet DISS | 41 16 230 |
|  |  | NIST hose AIR/O2, 1.5 m | M 33 145 |
|  |  | Connecting hoses, see page 1 |  |
|  |  | Secretion jar set with claw | 2M 86 036 |
|  |  | retrofit kit claw for jar set | M 32 967 |
|  |  | Kit – pivot rail bracket | 41 18 453 |
| Disposable suction accessories |  |  |  |
|  | VacuSmart disposable receptacle 0.7 L |  | MX 23 023 |
|  | VacuSmart disposable hose, 2 m |  | MX 23 026 |
|  | Filter |  | MK 00 514 |

| Pressure reducer for supply cylinders, MRI compatible |  |  |
| --- | --- | --- |
|  | on request |  |

| Connecting hoses |  |  |
| --- | --- | --- |
| not US | Connecting hose O2 NIST/NIST, 1 m (neutral) | M 32 671 |
| not US | Connecting hose N2O NIST/NIST, 1 m (neutral) | M 34 947 |
| not US | Connecting hose AIR NIST/NIST, 1 m (neutral) | M 34 948 |
| not US | Connecting hose VAC NIST/NIST, 1 m (neutral) | M 34 949 |
| not US | Connecting hose O2 NIST/NIST, 1.2 m (ISO) | M 36 053 |
| not US | Connecting hose N2O NIST/NIST, 1.2 m (ISO) | M 36 054 |
| not US | Connecting hose AIR NIST/NIST, 1.2 m (ISO) | M 36 055 |

| Disposable Breathing Circuits |  |  |
| --- | --- | --- |
|  | VentStar MRI adult 3 m | MP 00 327 |
|  | VentStar MRI neonatal 3 m | MP 00 329 |
|  | VentStar Bag + Hose Set | MP 00 322 |
|  | Anesthesia Set Basic latexfree, (circuit 1.5 m) | MP 00 301 |
| US-version! | Anesthesia Set Basic latexfree, (circuit 1.5 m) | MP 00 321 |
|  | Anesthesia Set Flex latexfree, (circuit up to 1.8 m) | MP 00 303 |
| US-version! | Anesthesia Set Flex latexfree, (circuit up to 1.8 m) | MP 00 323 |

| Non-rebreathing systems |  |  |
| --- | --- | --- |
|  | Medec Waters set | M 36 086 |
|  | Adapter AGS for Medec Waters set | M 36 086 |
| not US | Catheter mount 15 cm | MX 21 710 |

| CO2 absorber |  |  |
| --- | --- | --- |
|  | Drägersorb 800 Plus 5 L container | MX 00 001 |
|  | Drägersorb FREE 5 L container | MX 50 050 |
|  | Drägersorb CLIC, 1.3 L disposable absorber (package of 6) | MX 00 004 |
|  | Adapter for disposable absorber | MX 00 012 |
|  | CLIC adapter plate | MX 00 013 |

| Anesthetic gas monitoring |  |  |
| --- | --- | --- |
|  | Sample line for sample gas measurements 2.5 m (set of ten) | 82 90 286 |
|  | Sample line for sample gas measurements 5 m (set of five) | 82 90 602 |
|  | Sample gas return kit, 1.5 m | M 32 692 |

| MR compatible hemodynamic monitoring |  |  |
| --- | --- | --- |
|  | Ask your Dräger Medical representative for information on combination releases for combining Fabius MRI with patient monitoring. |  |